## 1 · Project Meta
2VP · FIX & CLEAR
REAR / SIDE EXTENSION — SCOPE OF WORKS TEMPLATE · v1
For the architect: fill only the GOLD cells. Everything else is auto or for 2VP use.
HOW TO USE
| Colour | What it means
| GOLD | YOU (architect) fill this cell — sizes, counts, dimensions.
| LIGHT GOLD | YOU (architect) fill notes / spec references / drawing tags.
| LIGHT GRAY | For 2VP estimator use — do not edit.
| WHITE | Fixed label / auto-calc / read-only.
THE 11 SHEETS
1 | Project Meta | Client · site · architect · planning ref · programme target
2 | Existing Building | Property type · rear elevation · garden depth · existing rear room to be opened
3 | Extension Envelope | Extension type · footprint L × W × H · roof type · wall build-up · glazing headline
4 | Structural | Foundations · slab · steels (opening + new) · retaining · party wall · SE sign-off
5 | Windows & Doors | Bi-fold / sliding / French / fixed · rooflight lantern · doors · sizes
6 | Rooms & Layout | Up to 6 rooms with L × W × H auto-area (kitchen, dining, family, utility, study)
7 | Kitchen + Utility + WC | Kitchen units / worktop / appliances / island · utility · downstairs WC
8 | MEP | Sockets · downlights · rads · UFH · gas / hob · MVHR · plumbing · fire
9 | Finishes + Joinery | Floor (microcement / porcelain / timber) · walls · ceilings · fitted joinery
10 | External + Landscaping | Patio · drainage · boundary · scaffold · skip · programme · party wall
11 | Estimator Summary | Auto-linked pull of key inputs — 2VP prices from here
PROJECT META · architect fills gold cells
Client name
Client contact — email / phone
Property address (full)
Postcode
Architect firm
Architect lead — name
Architect — email / phone
Planning reference
| Planning status |  | (dropdown: Pre-app / Submitted / Approved / GPDR (permitted development))
| Party Wall Act status |  | (dropdown: Not required / Notices to serve / Notices served / Awards agreed)
| Structural engineer |  | (name of SE practice)
| SE calcs status |  | (dropdown: Not started / Draft / Issued / Signed off)
| Building control |  | (dropdown: LABC / Approved Inspector — practice name)
| RIBA Plan of Work stage |  | (dropdown: Stage 2 / Stage 3 / Stage 4)
Target start on site
Target completion (PC)
Target programme (weeks)
| Client budget indication (£) |  | (if shared — helps calibrate spec)
Notes / anything unusual

## 2 · Existing
2VP · FIX & CLEAR
EXISTING BUILDING — SURVEY
Fill the gold cells with what's there today. Photos + rear-elevation drawing save the site visit later.
Ref | Item | Value | Unit | Notes / spec / drawing ref | For 2VP use
EX01 | Property type |  | dropdown | Victorian / Edwardian / Georgian / Semi / Detached / Terraced / Post-war / Mid-century / New-build
EX02 | Storeys existing |  | nr | 1 / 2 / 3 / 4 — dropdown
EX03 | Existing rear building depth |  | m | from rear elevation to front
EX04 | Existing rear window / door |  | dropdown | Sash / Casement / Patio doors / French / Bi-fold / Sliding / None
EX05 | Existing side infill / return |  | dropdown | No side return / Small side return / Full side extension already
EX06 | Garden depth (from existing rear) |  | m | total available
EX07 | Existing ground floor level (FFL) |  | dropdown | Ground level / Raised (steps) / Lowered (steps down)
EX08 | Existing rear room use |  | dropdown | Kitchen / Dining / Living / Utility / Bedroom / Bathroom / Store
EX09 | Existing rear room floor area |  | m²
EX10 | Walls to be removed (internal) |  | desc | list each wall — load-bearing?
EX11 | Rear elevation — construction |  | dropdown | Solid 225mm / Cavity brick / Rendered / Cladding / Stone
EX12 | Party walls (both sides?) |  | dropdown | One side / Both sides / Neither (detached)
EX13 | Existing drainage — location |  | dropdown | Rear inspection chamber / Side / Front / Unknown
EX14 | Existing gas meter location |  | desc
EX15 | Existing water main location |  | desc
EX16 | Existing boiler location + age |  | desc
EX17 | Consumer unit — location + condition |  | desc
EX18 | Rear garden access for materials |  | dropdown | Direct side / Through property / None (rear-only)
EX19 | Skip location possible |  | dropdown | On drive / On road (permit) / Neither
EX20 | Structural asbestos survey |  | Y/N | if pre-2000, refurb survey usually needed
EX21 | Existing conservatory / outbuilding to demolish |  | Y/N
EX22 | Existing patio / paving to lift |  | m²

## 3 · Envelope
2VP · FIX & CLEAR
EXTENSION ENVELOPE — TYPE · FOOTPRINT · ROOF · WALLS
The footprint drives ~60% of the estimate. Fill the L × W × H first.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · EXTENSION TYPE + FOOTPRINT
EN01 | Extension type |  | dropdown | Rear only / Side infill only / Rear + side wraparound / Double-storey rear / Double-storey wraparound / Two-storey side
EN02 | Footprint — L (parallel to rear wall) |  | m
EN03 | Footprint — W (projection from house) |  | m
EN04 | Footprint area = L × W |  | m² | AUTO — computed
EN05 | Internal ceiling height |  | m | typical 2.4-2.7m for single-storey
EN06 | Upper floor added (double-storey) |  | Y/N | if Y — footprint doubles for 2-storey costs
EN07 | Upper floor area |  | m² | if double-storey
EN08 | Total new GIA |  | m² | AUTO from EN04 + EN07
B · ROOF
EN10 | Roof type |  | dropdown | Flat (warm) / Flat (cold) / Pitched / Lean-to / Butterfly / Green roof
EN11 | Roof finish |  | dropdown | EPDM / Sarnafil / GRP / Zinc / Standing-seam / Tiles / Slate
EN12 | Rooflight / lantern |  | dropdown | None / Single lantern / Multiple flat rooflights / Skylight / Bi-lantern
EN13 | Rooflight / lantern dimensions |  | desc | W × D (mm) — brand if fixed
EN14 | Rooflight qty |  | nr
EN15 | Roof insulation — spec |  | dropdown | 150mm PIR / 200mm PIR / 250mm PIR / Timber-fibre / Other
EN16 | Parapet / eaves / verge detail |  | dropdown | Parapet with hidden gutter / Eaves overhang / Verge sprocket / Concealed
EN17 | Rainwater goods |  | dropdown | Cast alu / uPVC / Zinc / Concealed / Lead-effect
C · EXTERNAL WALLS
EN20 | External wall build-up |  | dropdown | Cavity brick + block + insulation / SIP panel / Timber frame / Steel frame / Blockwork rendered
EN21 | Outer skin finish |  | dropdown | Brick — match existing / New brick / Render / Timber cladding / Zinc / Composite panel
EN22 | Wall insulation thickness |  | mm | typically 100-150mm PIR
EN23 | Feature wall / accent |  | desc | e.g. Crittall-style opening, cladding zone
EN24 | External wall run — total length |  | m | perimeter minus glazing
EN25 | Number of new external walls |  | nr | 1 / 2 / 3 (depends on party wall side)

## 4 · Structural
2VP · FIX & CLEAR
STRUCTURAL — FOUNDATIONS · SLAB · STEELS · RETAINING · PARTY WALL
Foundations + steels commonly = 20–25% of the extension cost. Fill accurately.
Ref | Item | Value | Unit | Notes / spec / drawing ref | For 2VP use
A · FOUNDATIONS
ST01 | Foundation type |  | dropdown | Strip / Trench-fill / Piled / Raft / Ring beam
ST02 | Foundation depth |  | mm | from FGL — typically 1000-1500 in London clay
ST03 | Foundation width |  | mm | typically 600mm
ST04 | Foundation total run |  | m | perimeter of extension foundations
ST05 | Underpinning (existing) |  | dropdown | Not required / 1 leg / 2 legs / 3+ legs / Full elevation
ST06 | Piling required |  | Y/N | in clay / tree-affected sites
ST07 | Deep dig / trees within 3m |  | Y/N | increases foundation depth
B · FLOOR SLAB
ST10 | Ground floor slab type |  | dropdown | Solid ground-bearing / Beam & block / Suspended timber / Insulated raft
ST11 | Slab thickness |  | mm | typically 150mm C25 with mesh
ST12 | Slab insulation |  | mm | 100-150mm PIR under slab
ST13 | DPM + DPC continuity |  | Y/N
ST14 | UFH pipes cast into screed |  | Y/N | matches Sheet 8
ST15 | Screed thickness |  | mm | typically 65mm liquid or 75mm sand-cement
C · STEELWORK
ST20 | Steel — opening between old and new (main) |  | desc | e.g. 305×165 UB40 × 5.4m
ST21 | Steel — return / side opening |  | desc | if wraparound
ST22 | Steel — lintels above bi-folds / doors |  | desc
ST23 | Steel — flitch / posts |  | desc | if required for load path
ST24 | Total steel weight |  | kg | if SE has provided
ST25 | Fire protection to steels |  | dropdown | Intumescent paint / Boarding / Both / N/A (concealed)
ST26 | Padstones / spreader plates |  | desc | engineering brick / precast
ST27 | Structural engineer sign-off |  | Y/N
D · PARTY WALL + RETAINING
ST30 | Party wall — Section |  | dropdown | Section 1 / Section 2 / Section 6 / Not applicable
ST31 | Party wall — award qty |  | nr
ST32 | Retaining wall required |  | Y/N | if garden slopes / cut into ground
ST33 | Retaining wall height |  | m
ST34 | Retaining wall length |  | m

## 5 · Windows + Doors
2VP · FIX & CLEAR
WINDOWS & DOORS — BI-FOLD · SLIDING · FRENCH · FIXED · ROOFLIGHT
Glazing is often the biggest single sub — dimensions and brand steer the whole spec.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · MAIN REAR GLAZING
WD01 | Main glazing type |  | dropdown | Bi-fold / Sliding / French / Fixed picture / Corner-opening / Crittall-style
WD02 | Main glazing brand |  | dropdown | AtoZ (2VP glazing arm) / IDsystems / Sunflex / Origin / Reynaers / Fenestran / Client supply
WD03 | Main glazing — width |  | mm
WD04 | Main glazing — height |  | mm
WD05 | Main glazing — no. of panels / doors |  | nr
WD06 | Frame finish / colour (RAL) |  | dropdown | Anthracite grey (RAL 7016) / Black (RAL 9005) / White / Bronze / Bespoke
WD07 | Threshold |  | dropdown | Flush / Weathered / Low profile / Standard
WD08 | Handles / locking |  | dropdown | Standard / Upgrade / Bespoke
B · SIDE / OTHER GLAZING
WD10 | Side elevation window(s) |  | desc | width × height × qty
WD11 | Fixed picture window |  | desc | width × height × qty
WD12 | Front door replacement |  | Y/N | often bundled with extension
WD13 | Existing rear window/door — retain? |  | dropdown | Reused / Removed / Sold as scrap
C · INTERNAL DOORS
WD20 | New internal doors — qty |  | nr | includes utility, WC, pantry
WD21 | Door spec |  | dropdown | Standard flush / Panelled / Bespoke veneer / Frameless / Pocket
WD22 | FD30 doors required |  | Y/N | typically for kitchen ↔ hall
WD23 | Ironmongery |  | dropdown | Standard / Upgrade / Bespoke

## 6 · Rooms
2VP · FIX & CLEAR
NEW ROOMS — UP TO 6 · L × W × H → auto floor + wall + ceiling area
Fill sensible dimensions. Include existing rooms opened into the extension too.
Ref | Room name | Use | L (m) | W (m) | H (m) | Floor (m²) | Wall area (m²) | Ceiling (m²) | For 2VP use
R01
R02
R03
R04
R05
R06
TOTAL — extension + opened rooms

## 7 · Kitchen + Wet
2VP · FIX & CLEAR
KITCHEN + UTILITY + DOWNSTAIRS WC — SPECIFICATION
Kitchen is client-supplied or by Selection.Works (2VP joinery). 2VP always installs.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · KITCHEN
KT01 | Kitchen supply route |  | dropdown | Selection.Works (2VP) / Client-supply — installed by 2VP / Client supply + fit
KT02 | Kitchen budget indication (£) |  | £ | supply cost — helps calibrate
KT03 | Base unit run |  | LM | total linear metres
KT04 | Wall unit run |  | LM
KT05 | Tall unit run |  | LM | includes larders / pantry doors
KT06 | Island — Y/N + size |  | desc | W × D (mm)
KT07 | Worktop material |  | dropdown | Quartz / Granite / Dekton / Corian / Solid timber / Laminate / Marble
KT08 | Splashback material |  | dropdown | Tile / Glass / Metal / Match worktop / Painted
KT09 | Hob type |  | dropdown | Induction / Gas / Ceramic / Range cooker / Steam
KT10 | Oven qty + type |  | desc
KT11 | Extract hood |  | dropdown | Ceiling / Wall / Downdraft / Recirculating
KT12 | Extract discharge |  | dropdown | External / Internal recirculating / Existing flue
KT13 | Fridge / freezer |  | dropdown | Integrated / Freestanding / American-style / Wine fridge
KT14 | Dishwasher |  | dropdown | Integrated / Freestanding / Twin drawer
KT15 | Sink type |  | dropdown | Undermount / Belfast / Composite / Twin bowl
KT16 | Tap style |  | dropdown | Mixer / Boiling-water tap (Quooker) / Bar / Traditional
B · UTILITY
UT01 | Utility present in scheme |  | Y/N
UT02 | Utility floor area |  | m² | matches Sheet 6
UT03 | Utility unit run |  | LM
UT04 | Washing machine + dryer |  | dropdown | Stacked / Side-by-side / Integrated / Freestanding
UT05 | Sink (utility) |  | Y/N
UT06 | Boot storage / hanging |  | Y/N
C · DOWNSTAIRS WC
WC01 | Downstairs WC in scheme |  | Y/N
WC02 | WC type |  | dropdown | Back-to-wall / Wall-hung / Close-coupled / Traditional
WC03 | Basin |  | dropdown | Wall-hung / Vanity / Countertop / Pedestal
WC04 | Tiling area |  | m²
WC05 | Tile spec |  | desc | porcelain / marble / feature tile
WC06 | Extract fan |  | dropdown | Ceiling / Wall / Ducted / Humidity-controlled

## 8 · MEP
2VP · FIX & CLEAR
MEP — ELECTRICAL · HEATING · GAS · PLUMBING · MVHR · FIRE
Counts and locations here drive 25–30% of the estimate.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · ELECTRICAL
EL01 | Double sockets — total qty |  | nr | kitchen typically 12-20 sockets alone
EL02 | Single sockets — qty |  | nr
EL03 | USB integrated sockets — qty |  | nr
EL04 | Downlights — total qty |  | nr | kitchen typically 12-16, dining 4-6
EL05 | Pendant / feature light points |  | nr | islands, dining table
EL06 | Under-cabinet LED strip — LM |  | m
EL07 | Skirting / plinth LED — LM |  | m
EL08 | Dimmer / smart switch points |  | nr
EL09 | TV / data points |  | nr
EL10 | External sockets |  | nr | garden / patio
EL11 | External lighting points |  | nr
EL12 | Consumer unit upgrade |  | Y/N | new DB or replacement
EL13 | EICR required |  | Y/N
B · HEATING
HT01 | Radiator qty |  | nr
HT02 | Towel rail qty (WC / utility) |  | nr
HT03 | UFH area |  | m²
HT04 | UFH type |  | dropdown | Wet UFH cast in screed / Wet UFH low-profile / Electric mat / Neither
HT05 | Existing boiler sufficient |  | Y/N | new extension load usually needs an upgrade
HT06 | New boiler / heat pump |  | dropdown | Existing sufficient / New combi / New system + cylinder / ASHP retrofit
HT07 | Thermostat / zone |  | dropdown | Add zone / Full smart zoned (Nest/Hive) / TRV upgrade / Existing sufficient
C · GAS + PLUMBING
PL01 | Gas run — new / extended |  | desc | from meter to hob location
PL02 | Soil stack — new / extended / relocated |  | dropdown | New internal / Extended existing / Relocated / No change
PL03 | Cold feed — new run length |  | m
PL04 | Hot feed — new run length |  | m
PL05 | Waste pipe run — new / extended |  | desc
PL06 | Water pressure / pump required |  | Y/N
PL07 | External tap |  | Y/N
D · VENTILATION + FIRE
VF01 | MVHR system |  | Y/N | increasingly common for airtight extensions
VF02 | Kitchen extract — see Sheet 7 |  | ref | cross-reference
VF03 | Bathroom / WC extract fan qty |  | nr
VF04 | FD30 doors — qty |  | nr | between kitchen and hall
VF05 | Mains-wired smoke alarms — qty |  | nr
VF06 | Heat detector in kitchen |  | Y/N

## 9 · Finishes
2VP · FIX & CLEAR
FINISHES + JOINERY
Client-supply items go in Column E notes with '[CS]' — 2VP still fits, but excludes supply cost.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · FLOOR FINISHES
FN01 | Kitchen / dining floor — spec |  | dropdown | Microcement / Porcelain large-format / Engineered timber / Poured resin / Terrazzo / LVT
FN02 | Kitchen / dining floor — area |  | m²
FN03 | Family / living floor — spec |  | dropdown | Match kitchen / Engineered timber / Carpet / Other
FN04 | Family / living floor — area |  | m²
FN05 | Utility floor — spec |  | dropdown | Porcelain / Vinyl / LVT / Same as kitchen
FN06 | Utility floor — area |  | m²
FN07 | WC floor — spec |  | dropdown | Porcelain / Marble / Match kitchen / Feature
FN08 | Skirting profile |  | dropdown | Shadow gap / 100mm bullnose / 150mm ogee / Match existing / Bespoke
FN09 | Architrave profile |  | dropdown | Match skirting / Chamfered / Traditional / Shadow gap / Bespoke
B · WALLS + CEILINGS
FN10 | Wall finish |  | dropdown | Skim + emulsion / Skim + wallpaper / Panelling / Feature wall
FN11 | Wall paint — brand |  | dropdown | F&B / Dulux Trade / Little Greene / Client choice / TBC
FN12 | Wall paint — coats |  | nr | typically 1 primer + 2 topcoat
FN13 | Ceiling finish |  | dropdown | Skim + emulsion / Coving / Decorative moulding / Timber slat
FN14 | Coving / cornice |  | dropdown | None / Simple LM6 / Shadow gap / Match existing / Ornate
C · FITTED JOINERY
FN20 | Bespoke shelving / bookcase |  | Y/N | Selection.Works or third-party
FN21 | Bench seating (kitchen / dining) |  | Y/N
FN22 | Pantry / larder fit-out |  | Y/N
FN23 | Wine store / drinks unit |  | Y/N
FN24 | Bespoke wardrobes (if double-storey) |  | Y/N
FN25 | Under-stair storage (if applicable) |  | Y/N
FN26 | Handles / ironmongery |  | dropdown | Standard / Upgrade / Client supply

## 10 · External + Prelims
2VP · FIX & CLEAR
EXTERNAL WORKS · LANDSCAPING · PRELIMS · PROGRAMME
Groundworks + patio + drainage typically 8–12% of the estimate. Fill honestly.
Ref | Item | Value | Unit | Notes / spec | For 2VP use
A · PATIO + LANDSCAPING
EX01 | New patio area |  | m²
EX02 | Patio finish |  | dropdown | Porcelain (matching interior) / Natural stone / Concrete slab / Composite decking / Timber decking / Resin
EX03 | Patio edge / step detail |  | dropdown | Flush with FFL / Step down / Ramp / Bespoke
EX04 | Garden re-turfing area |  | m² | after works
EX05 | New boundary fence / wall |  | desc | LM + height
EX06 | External drainage |  | dropdown | Slot drain / Gully / French drain / Existing
EX07 | Rainwater harvesting / soakaway |  | Y/N
EX08 | External lighting install (see Sheet 8) |  | ref | cross-reference
B · SCAFFOLD + ACCESS
EX20 | Scaffold — position |  | dropdown | Rear only / Rear + side / Wraparound
EX21 | Scaffold — approx length |  | m
EX22 | Scaffold — height |  | m | typically eaves + 2m
EX23 | Scaffold hire duration |  | weeks
EX24 | Hoist required |  | Y/N
EX25 | Chute for waste |  | Y/N
EX26 | Neighbour permission — scaffold overhang |  | Y/N
C · WASTE + LOGISTICS
EX30 | Skip qty — total |  | nr | typical 5-8 for average rear extension
EX31 | Skip position |  | dropdown | On drive / On road (council permit) / Off-site cage van
EX32 | Muck-away lorry loads (excavation spoil) |  | nr | typical 3-6 for foundations
D · PROGRAMME + PRELIMS
EX40 | Programme — total weeks target |  | weeks | typical 14–20 wk single-storey rear · 18–26 wk wraparound
EX41 | Client in occupation during works |  | Y/N | affects noise/dust protocols + PM cost
EX42 | Working days per week |  | nr | 5 or 6
EX43 | Noise curfew |  | dropdown | Standard 08-18 / Restricted / Weekend banned / Notes
EX44 | Dedicated PM (2VP standard) |  | fixed | included
EX45 | Site set-up cost |  | desc | welfare, WC, fencing, hoarding

## 11 · Estimator Summary
2VP · FIX & CLEAR
ESTIMATOR SUMMARY · auto-linked · 2VP internal use
⚠ FOR 2VP ESTIMATOR ONLY. This sheet pulls the key inputs and lays out the section pricing shell. Delete before returning to architect.
Ref | Pulled input | Value | Unit | Rate (£) | Total (£) | Estimator note
EN01 | Extension type |  | desc
EN04 | Footprint area (single storey) |  | m²
EN08 | Total new GIA |  | m²
EN10 | Roof type |  | desc
ST01 | Foundation type |  | desc
ST20 | Main opening steel |  | desc
WD01 | Main glazing type |  | desc
WD05 | Main glazing panels / doors |  | nr
R-TOT | New rooms — total floor |  | m²
R-WAL | New rooms — total walls |  | m²
R-CEI | New rooms — total ceilings |  | m²
KT01 | Kitchen route |  | desc
KT02 | Kitchen supply budget |  | £
EL01 | Sockets qty |  | nr
EL04 | Downlights qty |  | nr
HT01 | Radiators qty |  | nr
HT03 | UFH area |  | m²
FN02 | Kitchen floor area |  | m²
EX01 | Patio area |  | m²
EX20 | Scaffold length |  | m
EX40 | Programme target |  | weeks
SECTION PRICING SHELL — 2VP fills
A | Preliminaries + Scaffold + Skips
B | Groundworks + Foundations + Slab
C | Structural Steels + Openings
D | Envelope — Walls + Roof + Insulation
E | Glazing — Bi-fold / Sliding + Rooflight
F | Rooms fit-out — plasterboard + skim + carpentry
G | Kitchen + Utility + WC (install)
H | MEP — electrical + plumbing + heating + gas + MVHR
I | Finishes + Joinery
J | External — Patio + Drainage + Landscaping
K | Decoration + Snagging + Sparkle
L | PM + insurance + admin
NET BUILD COST (ex VAT)
VAT @ 20%
GRAND TOTAL (incl VAT)